	

	College of Engineering and Computer Science

Mechanical Engineering Department
Mechanical Engineering 694C

Seminar in Energy Resources and Technology

	
	Fall 2002  Ticket: 57564  Instructor: Larry Caretto


Midterm Exam Solutions
1.
(20 points)
An 800 MW coal-fired power plant that uses coal with a heating value of 13,500 Btu/lb has an annual capacity factor of 85% and an annual average efficiency of 35%.  As mined, the coal used by the plant has trace amounts of mercury with an average mass fraction of 1.5x10-7.  Coal cleaning processes before combustion remove 20% of the mercury.  In the combustion process, all the mercury is vaporized and leaves the combustion region with the flue gases.  Some of the mercury condenses on small particulate matter that is in the flue gases and 30% of the mercury that enters the combustion process is removed by fabric filter used as the particulate control device for the plant.  What are the annual emissions of mercury from this power plant?

The annual emissions of mercury, 
[image: image1.wmf]Hg

m

&

, are determined by the following equation:


[image: image2.wmf])

1

)(

1

(

filter

cleaning

Hg

coal

Hg

r

r

w

m

m

-

-

=

&

&


In this equation, 
[image: image3.wmf]coal

m

&

 is the annual coal use in tons per year, wHg is the mass fraction of mercury in the coal as mined, rcleaning = 20% is the fraction of mercury removed by coal cleaning and rfilter = 30% is the fraction of mercury removed by the fabric filter.  The mass flow rate of coal is calculated from the required power output, P = 800 MW(e), the heat of combustion of the coal, Qc, = 13,500 Btu(t)/lbm, the power plant efficiency, 0.35 MW(e)/MW(t), and the effective hours at full capacity, Hcf.  The effective hours at full capacity term is simply the product of the capacity factor, and the total number of hours in the year.

[image: image4.wmf]c

cf

coal

Q

PH

m

h

=

&


For a capacity factor of 85% and a 365-day year, the Hcf term is found as follows.

[image: image5.wmf]year

hours

day

hours

year

days

H

cf

446

,

7

24

365

%

85

=

=


Substituting this value and the other date for the right-hand side terms used to compute the mass flow rate of coal gives the following annual fuel use.


[image: image6.wmf]yr

coal

lb

x

t

Btu

coal

lb

hr

t

MW

t

Btu

x

e

MW

t

MW

yr

hr

e

MW

m

m

m

coal

9

6

10

302

.

4

)

(

500

,

13

)

(

)

(

10

412

.

3

)

(

35

.

0

)

(

446

,

7

)

(

800

=

-

=

&


We can substitute this fuel rate into the equation for the mercury emission rate to obtain the following result.


[image: image7.wmf]yr

Hg

lb

coal

lb

Hg

lb

x

yr

coal

lb

x

m

m

m

m

m

Hg

361

)

3

.

0

1

)(

2

.

0

1

(

10

5

.

1

10

302

.

4

7

9

=

-

-

=

-

&



[image: image8.wmf]Hg

m

&

= 361 lbm/yr.
2.
(20 points)
Table 8.3 on page 209 of the text shows various data on electric vehicles and their batteries.  (Assume that the vehicle mass data in this table are in metric tons.)  Review the data on the GM EV1 using lead-acid batteries and nickel-metal-hydride (NiMH) batteries and answer the following questions.

(a) What is the specific power (maximum power per unit mass) of each battery type?  How does difference in specific power for the two battery types compare to the difference in their specific energy (in kWh/kg)?
The data from the table for this vehicle with the two battery types are shown in the table below.  The specific power and specific energy are computed from the data on the battery mass and the battery energy and power.

	
	lead-acid
	NiMH

	Maximum power (kW)
	102
	102

	Vehicle mass (t)
	1.4
	1.32

	Battery mass (kg)
	595
	521

	Battery energy storage (kWh)
	18.7
	26.4

	Vehicle range (km)
	89-153
	121-209

	Specific energy (Whr/kg)
	31.4
	50.7

	Specific power (W/kg)
	171.4
	195.8


The NiMH battery has about 1.14 times the specific power of the lead-acid battery, but its specific energy is about 1.61 times that of the lead-acid battery.

(b) What battery property accounts for the difference in range between the lead-acid and the NiMH batteries?  

The greater specific energy for the NiMh battery accounts for the extended range.  It is the additional stored energy, not the increase in power, that provides the range.  The maximum and minimum ranges for the NiMh batteries are about 1.36 times the corresponding values for the lead-acid batteries.  Although this is less than the factor of 1.61 for the increase in specific energy it is greater than the factor of 1.14 for the increase in specific power.
(c) How would the vehicle performance be changed if new batteries were developed that

(i) had three times the specific power of a NiMH battery?
The battery with three times the specific power could provide greater acceleration, hill-climbing ability, and top speed.  Alternatively, the mass of the battery pack could be reduced and the overall vehicle mass would be reduced.  This could increase the vehicle range.  The final design would likely be a compromise between the increase in vehicle power and the increase in vehicle range.
(ii) had three times the specific energy of a NiMH battery?
Tripling the specific energy could not provide greater acceleration, hill-climbing ability, and top speed.  However, it could provide a significant increase in the vehicle range.
(iii) had both three times the specific energy and three times the specific power of a NiMH battery?
A battery with these characteristics could be used to build a vehicle that had a significant increase in range while still maintaining good power performance.  With these improvements, a battery-powered car could be competitive in performance and range with a car powered by a combustion engine.  Such a battery-powered car could still cost more and recharging the batteries would take significantly longer that filling a fuel tank.
3.
(15 points)
Some power plants located along rivers or by the ocean use once-through cooling.  In this approach, water from the river (or ocean) is used as the coolant for the condenser and the warm water leaving the condenser is simply returned to the original water body.  If a nuclear power plant with a peak power output of 1000 MW has an efficiency of 33%, what flow rate of cooling water into the condenser is required if the cooling water enters the condenser at 20oC and leaves at 40oC?
The heat rejected, Qout, in the condenser is simply the difference between the heat input, Qin and the work done, W.  However, the heat input is equal to the word done divided by the efficiency, .  Combining these two principles and using the work and heat rates gives the following relationship between the power output, P, and the heat rejected in the condenser, 
[image: image9.wmf]out

Q

&

.


[image: image10.wmf]h

h

h

-

=

-

=

-

=

1

P

P

P

P

Q

Q

in

out

&

&


The heat rejected by the condenser heats the coolant, with a mass flow rate of 
[image: image11.wmf]c

m

&

, and a temperature rise, T = 40oC – 20oC = 20oC, according to the following equation, where cp is the heat capacity of the coolant.

[image: image12.wmf]T

c

m

P

Q

p

c

out

D

=

-

=

&

&

h

h

1


Using the data supplied in the problem we can solve the equations above for the coolant mass flow rate in terms of the power plant output.  In the calculation below we use a value of 4184 kJ/kg-C for the heat capacity of liquid water

[image: image13.wmf]s

kg

x

s

MW

J

J

C

kg

C

MW

T

c

P

m

p

c

4

6

10

43

.

2

33

.

33

.

1

10

4184

20

1000

1

=

-

-

-

=

-

D

=

h

h

&



[image: image14.wmf]c

m

&

= 2.43x104 kg/s
4.
(20 points)
(a)
Compute the average energy rate per unit area for the months of January and July for a solar collector located in Los Angeles.  (This should be the energy that is actually available as useful heat transfer to water.)  Use the following data.  The collector captures 80% of the incoming solar irradiance and it is used to heat water to 135 F.  In January the average daily solar irradiance is 890 BTU/ft2/day over five hours of bright sunshine and the average air temperature during these five hours is 60 F.  During July, the average daily solar irradiance is 2,260 Btu/ft2/day over ten hours of bright sunshine and the average air temperature during these hours is 85 F.  The heat transfer coefficient between the collector and the air is 1.0 Btu/hr/ft2/F.

We can use equation 7.2 on page 159 of the text for these computations.


[image: image15.wmf])

(

a

c

T

T

U

I

q

-

-

=

b


In this equation q is the net heat flux to the water being heated; this is the term that we are trying to find.  The other terms are is the fraction of the incoming solar irradiance, I, that is absorbed by the collector, U is the overall heat transfer coefficient, Tc, is the temperature of the water being heated and Ta is the ambient temperature.  Using the data provided in the problem we can compute the value of q for January and June as follows.

[image: image16.wmf]day

ft

Btu

F

F

day

hr

F

ft

hr

Btu

day

ft

Btu

q

January

-

=

-

-

-

-

-

=

2

2

2

337

)

60

135

(

5

0

.

1

890

%

80



[image: image17.wmf]day

ft

Btu

F

F

day

hr

F

ft

hr

Btu

day

ft

Btu

q

July

-

=

-

-

-

-

-

=

2

2

2

308

,

1

)

85

135

(

10

0

.

1

260

,

2

%

80


(b)
What is the average efficiency of the solar collector in January and July?

The efficiency, , is the ratio of the heat delivered to the water, q, divided by the solar irradiance, I.  The efficiencies in January and July are found from the results above.


[image: image18.wmf]%

9

.

57

260

,

2

308

,

1

%

9

.

37

890

337

2

2

2

2

=

-

-

=

=

=

-

-

=

=

day

ft

Btu

day

ft

Btu

I

q

day

ft

Btu

day

ft

Btu

I

q

July

July

July

January

January

January

h

h


(c)
How many gallons of water could be heated in January and July, per unit collector area per day, if the desired temperature increase for the water was 60 F?
The total heat transfer rate, 
[image: image19.wmf]Q

&

, can heat a mass flow rate of water, 
[image: image20.wmf]m

&

, where 
[image: image21.wmf].

T

c

m

Q

p

D

=

&

&

  Here cp is the heat capacity of water and T is the temperature increase.  The relationship between mass flow rate and volume flow rate, 
[image: image22.wmf]V

&

, is 
[image: image23.wmf]V

m

&

&

r

=

, where  is the density of water.  Since q = 
[image: image24.wmf]A

Q

&

, we can relate the volume flow rate and the heat flux, q, as follows.

[image: image25.wmf]T

c

q

A

V

A

T

c

V

A

T

c

m

A

Q

q

p

p

p

D

=

Þ

D

=

D

=

=

r

r

&

&

&

&


We use the density and heat capacity of water as 8.34 pounds per gallon and 1 Btu/lbm-F along with the given temperature rise, T, of 60 F to compute the volume of water that can be heated per unit area of collector.

[image: image26.wmf]day

ft

gallons

F

Btu

F

lb

lb

gal

day

ft

Btu

T

c

q

A

V

m

m

p

January

January

-

=

-

-

=

D

=

÷

÷

ø

ö

ç

ç

è

æ

2

2

673

.

0

60

1

1

34

.

8

337

r

&



[image: image27.wmf]day

ft

gallons

F

Btu

F

lb

lb

gal

day

ft

Btu

T

c

q

A

V

m

m

p

July

July

-

=

-

-

=

D

=

÷

÷

ø

ö

ç

ç

è

æ

2

2

61

.

2

60

1

1

34

.

8

308

,

1

r

&


5.
(25 points)
This problem raises additional questions about the power plant described in problem one.  The data for that problem gave the maximum capacity as 800 MW, the heating value of the coal as 13,500 Btu/lbm, the annual capacity factor as 85%, and an annual average efficiency as 35%.  The ultimate analysis of the coal used in that plant (on a weight basis) is as follows: Carbon 82%, Hydrogen 10%, Sulfur 1.5%, Nitrogen 1.0%, Oxygen 1%, Mineral matter: 4.5%.  
(a)
If all the sulfur in the coal is converted to sulfur dioxide, what is the emission rate in pounds of SO2 per Btu before any controls to remove SO2?
We can use the same equation that was used for the solution to problem 9.2 on the September 18 homework solutions.  The ratio of SO2 emissions to the heat input rate of the fuel, 
[image: image28.wmf]fuel

SO

Q

m

2

&

&

was found, in that problem, from the following equation.

[image: image29.wmf]S

SO

c

S

fuel

c

S

SO

fuel

S

fuel

c

SO

fuel

SO

M

M

Q

w

m

Q

M

M

m

w

m

Q

m

Q

m

2

2

2

2

=

=

=

&

&

&

&

&

&


Substituting the problem data gives.


[image: image30.wmf]S

lb

SO

lb

coal

lb

S

lb

Btu

coal

lb

M

M

Q

w

Q

m

m

m

m

m

m

S

SO

c

S

fuel

SO

065

.

32

064

.

64

015

.

0

500

,

13

2

2

2

ú

û

ù

ê

ë

é

=

=

&

&



[image: image31.wmf]Btu

SO

lb

x

Q

m

m

fuel

SO

2

6

10

15

.

2

2

-

=

&

&


(b)
The plant has an allocation of 35,000 tons/year of SO2 under the Phase II of the Acid Rain program of the 1990 Clean Air Act Amendments.  Calculate the amount of allocations it will have to purchase or have available to sell for the operating conditions given in the problem.
From problem one we know that the annual fuel use will be 4.302x109 lbm of coal.  We can calculate the SO2 emission rate directly from the fuel use and the weight fraction of sulfur in the fuel.

[image: image32.wmf]yr

SO

tons

SO

lb

SO

ton

S

lb

SO

lb

yr

coal

lb

x

coal

lb

S

lb

m

M

M

w

m

m

m

m

m

m

m

coal

S

SO

S

SO

2

444

,

62

2000

2

1

065

.

32

064

.

64

10

302

.

4

015

.

0

2

2

9

2

2

=

=

=

&

&


Since the emissions are greater than the allowance, the plant operator will have to purchase allowances to make up the difference (62,444 – 35,000 tons per year).

Thus, the plant will have to purchase 27,444 tons per year of allowances.
(c)
If the coal is burned with 25% excess air, what is the mole fraction of SO2 in the dry exhaust gases?

We have to find the values of w, v, x, y, and z in the general fuel formula CxHySzOwNv.  These are found from the ultimate analysis and the atomic weight of the various elements using equations [45] from the combustion notes as shown below.

[image: image33.wmf] 

M

wt%O

 

=

 

      w

M

wt%N

 

=

 

v

       

M

wt%S

 

=

z 

      

M

wt%H

 

=

y 

      

M

wt%C

 

=

 

x

O

N

S

H

C


Substituting problem data and atomic weights gives the following calculations.

[image: image34.wmf] 

 

=

 

      w

 

=

 

v

       

 

=

z 

      

 

=

y 

      

 

=

 

x

9994

.

15

1

0067

.

14

1

065

.

32

5

.

1

00794

.

1

10

0107

.

12

82


Completing the calculations and substituting the results into the fuel formula gives CxHySzOwNv as C6.827H9.921S0.0468O0.0625N0.0714.  In burning one mole of this fuel, the exhaust gases will have z = 0.0468 moles of SO2.  The total dry moles, D, that result from combustion of one mole of fuel, with 25% excess air ( = 1.25) are found from equations [2], [13], and [15] from the combustion notes.



[image: image35.wmf]2

w

 

-

z 

 

+

 

4

y

 

+

 

x

 

=

 

A


[2]



[image: image36.wmf]A

 

-

 

B

 

A

 

 

+

 

2

v

 

+

z 

 

+

 

x

 

=

 

D

d

l


[13]



[image: image37.wmf]w

 

7.67597

 

+

 

 

B

          

and

          

 

B

w

d

7742

.

4

7742

.

4

=

=


[15]

Substituting the values we have for x, y, z, and w into equation [3] for A gives the following result.



[image: image38.wmf]323

.

9

0625

.

0

0468

.

0

921

.

9

872

.

6

=

2

 

-

 

 

+

 

4

 

+

 

 

=

 

A




We can now compute the total dry moles from the known values of x, z, v, , A, and Bd.


[image: image39.wmf]224

.

53

323

.

9

)

7742

.

4

)(

323

.

9

(

25

.

1

0714

.

0

0468

.

0

872

.

6

=

 

-

 

 

 

+

 

2

 

+

 

 

+

 

 

=

 

D




So the mole fraction of SO2 is 0.0468/53.224 = 0.000879
6.
(40 points)
The attachment is a summary of an Energy Information Agency study on the potential use of biomass fuels for electricity generation (http://www.eia.doe.gov/oiaf/analysispaper/).  Review this summary and answer the following questions.

(a)
How significant will biomass fuels become in the period of used in this study?
The summary notes that 3 quads (3x1015 Btu) of biomass energy were used in 2000.  It calculates that the amount of biomass fuel that would be available at a cost competitive with coal is only 0.234 quads in 2020.  There is a conflict here.  This conclusion indicates that the present use of biomass fuel is not based on the economics of competition with coal-fired generation.  From an energy standpoint, then, there appears to be no growth in biomass fuel availability.  However, the study forecasts that the generation capacity will increase from 6.6 GW in 2000 to 10.4 GW in 2020.  Assuming that the capacity factors are the same in both years, this represents a 10.4/6.6-1 = 58% increase in biomass energy between 2000 and 2020.  The projections for US energy use from the lecture notes for the first class show an increase from 382 to 612 quads between 1999 and 2020.  This is a 612/382-1 = 60% increase in total energy use.  Thus, the forecast for biomass energy use, implied by the increase in generating capacity, shows that this energy source will retain about the same proportion of total energy use over the forecast period.
(b)
Give your explanation for the shapes of the curves for fuel availability as a function of cost.
The lack of any increase in availability as a function of cost implies that there is some other constraint on supply that is not affected by cost.  For sources that are residues, the obvious limit is the total amount of residues produced.  There is no clear indication of why there should be a limit on energy crops.  Could not new crops be planted if there was a market for them at a higher price? Perhaps this limit represents the total forecast production of the crops listed in the summary as energy crops.
(c)
What are the major conclusions of the study?
The summary presents the following conclusions: (1) the maximum available biomass energy in 2020 without special incentives, 7.1 quads, occurs only if the price of competing fuels increases to $7 per million Btu; (2) with no changes in law or policy the biomass power generating capacity will grow from 6.6 to 10.4 GW between 2000 and 2020; (3) increases to (a) 12.3 GW or (b) 70 GW are possible if (a) there are lower costs for biomass fuels or (b) if there is a mandated use of 20% renewable fuels.
(d)
Do you think that these conclusions are reasonable?
The first conclusion is consistent with the figure shown.  In particular, the following levels would be available: agricultural residues, 2.35 quads; forestry residues, 2.1 quads; energy crops, 1.5 quads, and urban wood waste and mill residues, 1.25 quads.  This is a total of 7.1 quads.  What is not mentioned in the summary is that most of this maximum amount, 6.7 quads, is available at if the price rises to $4 per million Btu.  This comes from the following components:  agricultural residues, 2.35 quads; forestry residues, 1.75 quads; energy crops, 1.5 quads, and urban wood waste and mill residues, 1.1 quads.

The forecast increase in generating capacity (6.6 to 10.4 GW) seems reasonable.  It is consistent with the overall forecasts in energy growth.  However, this forecast assumes that there are special incentives for the use of biomass fuel that go beyond the economic cost comparison with coal.  If biomass fuel use were determined by this cost comparison alone, there would be a decrease in biomass fuel use.
If the maximum fuel amount of 7.1 quads became available, and the capacity factors of biomass generating plants did not change, the generating capacity would increase by a factor of 7.1/3-1 = 2.37.  This should produce a generating future generating capacity of 2.37(6.6GW) = 12.6 GW; it is not clear how the forecast generating capacity of 70 GW for 2020 can be established.
Engineering Building Room 1333
Mail Code
Phone: 818.677.6448

E-mail: lcaretto@csun.edu
8348
Fax: 818.677.7062


_1097479756.unknown

_1097486335.unknown

_1097487132.unknown

_1097487998.unknown

_1097490917

_1097502937

_1097930411.unknown

_1097503074

_1097502142.unknown

_1097489662.unknown

_1097490260.unknown

_1097489543.unknown

_1097489214.unknown

_1097487846.unknown

_1097487867.unknown

_1097487243.unknown

_1097487316.unknown

_1097487025.unknown

_1097487094.unknown

_1097486901.unknown

_1097487009.unknown

_1097482181.unknown

_1097483137.unknown

_1097486297.unknown

_1097483000.unknown

_1097482095.unknown

_1097482154.unknown

_1097481733.unknown

_1097478448.unknown

_1097479555.unknown

_1097479744.unknown

_1097478496.unknown

_1097477488.unknown

_1097477516.unknown

_1093489741.unknown

_1097477367.unknown

_1087386981

_1091689572

_1087386926

